## Sheet1
test | purpose | format | Available in facilities without testing capacity | Available in facilities with testing capacity
Antibodies to HIV 1/2 (anti‑HIV Ab) | To screen for or to aid in the diagnosis of HIV infection:adults, adolescents,children and infants> 18 months of age | RDT | X | X (NAT)
Qualitative (EID) or quantitative (viral load) HIV nucleic acid test (NAT) | To screen for or to aid in the diagnosis of HIV infection:adults, adolescents,children and infants > 18 months of age(EID) OR To monitor response to antiretroviral treatment for priority populations (VL) | Point-of-care NAT | X | X
CD4 cell enumeration | To stage advanced HIV disease To monitor response to antiretroviral therapy (in settings where quantifying viral load is not available) | Point-of-care flow cytometry platform | X (point of care) | X
Influenza A and B antigen | To aid in the diagnosis of seasonal influenza infection (Not recommended for surveillance testing) | RDT or Point- of-care instrument or lab based NAT | X (RDT or point of care immunoassay or point-of-care NAT) | X (NAT)
Plasmodium spp. antigens; species-specific (e.g. HRP2) and/or panspecies- specific (e.g. pan-pLDH) | To diagnose one or more human malaria parasite species (P. falciparum, P. vivax, P. malariae, P. ovale) | RDT or light microscopy | X (RDT) | X (RDT, light micrscopy)
Antibodies toTreponema pallidum OR Combined antibodies to T. pallidum and HIV 1/2 | To diagnose or to aid in the diagnosis of T. pallidum | RDT | X | X
Lipoarabinomannan (LAM) antigen | To aid in the diagnosis of TB in seriously ill HIVpositive inpatients and in HIV-positive adult outpatients with signs and symptoms of TB | RDT | X | X
Staining procedures | For the presumptive identification of pathogens and for determination of microbial morphology | Microscopic examination of slides which may use different types of microscopes and stains & A range of biochemical tests that may be performed manually or on automated equipment |  | X
Culture OR Culture and Genus and species identification of bacteria and fungi | Initial step in detection and identification of bacterial and fungal species for selection of appropriate antimicrobial regimens followed by the identification of the genus or species of bacteria or fungi from microbial isolates | Culture on growth media plates or broth in an incubator followed by recovery of isolates and species identification (traditional manual techniques or automated equipment) |  | X
Blood culture | To detect bacterial and fungal bloodstream infections (sepsis) | Blood culture bottle in an incubator followed by recovery of isolates (traditional manual techniques or automated equipment) |  | X
Antimicrobial susceptibility testing (AST) | Final step in selection of appropriate antibiotics after species identification and interpretation by EUCAST21 and CLSI guidelines22 | Antimicrobial susceptibility testing of isolates may be done manually (by disc diffusion, gradient tests and broth microdilution), or by automated platforms |  | X
Liver profile (Alanine aminotransferase (ALT) +Aspartate aminotransferase (AST)+Albumin + Alkaline phosphatase (ALP) +Gamma-glutamyl transferase (GGT) +Globulin+ Total protein+Total bilirubin+Direct bilirubin and indirect bilirubin | Often termed in common usage as “liver function tests”, which may include other tests such as tests of coagulation, like prothrombin time. These individual tests, however, reflect different disease processes in the liver and do not all assess liver synthetic, metabolic or excretory function. | Optical methods on semi-automated or automated chemistry analysers |  | X
renal function test ( Albumin +Blood urea nitrogen (BUN) + Total calcium + Ionized calcium + creatinine+ Electrolytes (sodium, potassium,chloride andbicarbonate+ Magnesium+ Phosphate) |  | Optical methods on semi-automated or automated chemistry analysers |  | X
Blood gas | To assess lung function, metabolic or kidney disorders and monitor oxygen therapy (includes blood pH, partial pressure of O2 and carbon dioxide, electrolytes | Blood gas analysers, including portable |  | X
C-reactive protein (CRP) | To detect inflammation as an indicator of various conditions To monitor response to treatment Note: When used for emergency or critical care, results are time-sensitive. | RDT, Latex agglutination or immunoassay |  | X
Glucose | To diagnose hypoglycaemia Note: When used for emergency or critical care, results are time-sensitive. | Optical and electrochemical methods on semi-automated or automated chemistry analysers |  | X
Complete blood count (CBC), automated | wide range of disorders, including anaemia, infections, leukaemias, and red blood cell (RBC), white blood cell (WBC) and platelet abnormalities, and primary immune disorders To diagnose and monitor chemotherapyassociated myelotoxicity Note: When used for emergency or critical care, results are time-sensitive. | Automated haematology analyser, total and differential counts of WBCs, RBCs, platelets |  | X
Prothrombin time and international normalized ratio (PT/INR) | To detect or diagnose bleeding or thrombotic disorders (PT) To monitor performance of anticoagulant medications (INR) Note: When used for emergency or critical care, results are time-sensitive. | Handheld or automated coagulation analyser |  | X
SARS-CoV-2 test | by severe acute respiratory syndrome coronavirus 2 (SARS-CoV-2) in symptomatic and asymptomatic individuals suspected of having been exposed For surveillanceand confirmation of outbreaks | NAT or RDT | X (RDT or Point of care NAT) | X (NAT)
Hepatitis B surface antigen (HBsAg) | To screen for HBV infection, and to aid in the diagnosis of chronic and acute HBV infection: infants > 12 months of age, children, adolescents and adults (For acute infection, IgM-specific antibodies to hepatitis B core antigen (IgM anti- HBc) are needed in addition to HBsAg) | RDT or immunoassay | X(RDT) | X (RDT, immuno assay)
Influenza A and B diagnostic | To diagnose seasonal influenza | NAT or RDT | X (RDT or point of care) | X (NAT)
Qualitative dengue virus nucleic acid test, Dengue virus IgM antibody oe Dengue virus antigen (NS1) |  | NAT or RDT |  | X (NAT , RDT
Qualitative nucleic acid test (NAT) for Chlamydia trachomatis (CT) and Neisseria gonorrhoeae (NG) infections | To diagnose chlamydial and/ or gonorrhoeal urogenital disease and extragenital infection | NAT |  | X
Mycobacterium tuberculosis bacteria | To diagnose and monitor treatment of active TB OR To diagnose and monitor treatment of active TB, including drugresistant TB | Fluorescent microscopy Light microscopy Mycobacterial culture: - Automated liquid medium - Solid medium |  | X
M. tuberculosis DNA | To diagnose active TB or to diagnosed active TB and simultaneously or sequentially detect rifampicin +/– isoniazid resistance | NAT - isothermal OR automated |  | X
Drug susceptibility testing of M. tuberculosis culture | To detect resistance to first-line and/or second-line anti-TB medicines | Mycobacterial culture drug susceptibility testing: - Automated liquid medium - Solid medium |  | X
Measles nucleic acid test or Measle serology | To diagnose clinically suspected measles infection OR To aid in the diagnosis of clinically suspected measles infection | NAT or immunoasay |  | X
Vibrio cholerae antigen | For initial detection or exclusion of a cholera outbreak (Not for use in case management) | RDT | X

## Lab-5 Indicator Calculation
Filter Question | Response
Does this facility conduct any diagnostic testing of specimens using either laboratory equipment or rapid diagnostic tests with a dedicated laboratory in the facility? This includes tests performed in a laboratory or in a service site at this facility, as well as sending a specimen outside for testing and receiving the results back. | Yes, with lab in facility - 1 Yes, without lab in facility - 2 No lab tests performed - 3
Test Name |  | RSSH/PP LAB-5
Antibodies to HIV 1/2 (anti‑HIV Ab) | Yes - 1 No - 2 Don't Know - 8 | Numerator | # of facilities which respond "Yes-1" for all listed tests in facilities conditional on availability of testing capability (respond 1 or 2 on filter question)
Qualitative (EID) or quantitative (viral load) HIV nucleic acid test (NAT) | Yes - 1 No - 2 Don't Know - 8 | Denominator | # of facilities based on appropriate category which respond 1 or 2 on filter question
CD4 cell enumeration | Yes - 1 No - 2 Don't Know - 8
Influenza A and B antigen | Yes - 1 No - 2 Don't Know - 8
Plasmodium spp. antigens; species-specific (e.g. HRP2) and/or panspecies-specific(e.g. pan-pLDH) | Yes - 1 No - 2 Don't Know - 8
Antibodies toTreponema pallidum OR Combined antibodies to T. pallidum and HIV 1/2 | Yes - 1 No - 2 Don't Know - 8
Lipoarabinomannan (LAM) antigen | Yes - 1 No - 2 Don't Know - 8
Staining procedures | Yes - 1 No - 2 Don't Know - 8
Culture OR Culture and Genus and species identification of bacteria and fungi | Yes - 1 No - 2 Don't Know - 8
Blood culture | Yes - 1 No - 2 Don't Know - 8
Antimicrobial susceptibility testing (AST) | Yes - 1 No - 2 Don't Know - 8
Liver profile (Alanine aminotransferase (ALT) +Aspartate aminotransferase (AST)+Albumin + Alkaline phosphatase (ALP) +Gamma-glutamyl transferase (GGT) +Globulin+ Total protein+Total bilirubin+Direct bilirubin and indirect bilirubin | Yes - 1 No - 2 Don't Know - 8
renal function test ( Albumin +Blood urea nitrogen (BUN) + Total calcium + Ionized calcium + creatinine+ Electrolytes (sodium, potassium,chloride andbicarbonate+ Magnesium+ Phosphate) | Yes - 1 No - 2 Don't Know - 8
Blood gas | Yes - 1 No - 2 Don't Know - 8
C-reactive protein (CRP) | Yes - 1 No - 2 Don't Know - 8
Glucose | Yes - 1 No - 2 Don't Know - 8
Complete blood count (CBC), automated | Yes - 1 No - 2 Don't Know - 8
Prothrombin time and international normalized ratio (PT/INR) | Yes - 1 No - 2 Don't Know - 8
SARS-CoV-2 test | Yes - 1 No - 2 Don't Know - 8
Hepatitis B surface antigen (HBsAg) | Yes - 1 No - 2 Don't Know - 8
Influenza A and B diagnostic | Yes - 1 No - 2 Don't Know - 8
Qualitative dengue virus nucleic acid test, Dengue virus IgM antibody oe Dengue virus antigen (NS1) | Yes - 1 No - 2 Don't Know - 8
Qualitative nucleic acid test (NAT) for Chlamydia trachomatis (CT) and Neisseria gonorrhoeae (NG) infections | Yes - 1 No - 2 Don't Know - 8
Mycobacterium tuberculosis bacteria | Yes - 1 No - 2 Don't Know - 8
M. tuberculosis DNA | Yes - 1 No - 2 Don't Know - 8
Drug susceptibility testing of M. tuberculosis culture | Yes - 1 No - 2 Don't Know - 8
Measles nucleic acid test or Measle serology | Yes - 1 No - 2 Don't Know - 8
Vibrio cholerae antigen | Yes - 1 No - 2 Don't Know - 8